MP ROTATOR

ADJUSTABLE ARC, ADJUSTABLE RADIUS,

MATCHED PRECIPITATION RATE, MULTI-STREAM, MULTI-TRAJECTORY, ROTATING STREAM SPRINKLER

The sprinkler shall be of the viscous fluid brake rotary type and be a multi-stream, multi-trajectory rotating stream sprinkler.

In full or part circle mode the sprinkler shall be capable of covering a   ________ foot radius at ________ psi pressure with an equivalent full circle discharge rate of ________ gpm.  Side Strip sprinklers shall be capable of irrigating a rectangular area of ________ feet x _________feet at ________ psi.  Left strip and right strip sprinklers shall be capable of irrigating a rectangular area of ________ feet x _________feet at ________ psi.

Sprinkler Assembly models MP Corner, MP Side Strip, MP Left Strip, MP Right Strip, MP1000, MP2000, MP3000 & MP3500 shall produce and maintain a matched precipitation rate no greater than 0.6” per hour throughout the arc adjustment range and radius adjustment range, (up to 25% of radius reduction), when spaced at 50% of wetted diameter. Sprinkler Assembly model MP800SR shall produce and maintain a matched precipitation rate no greater than 1.0” per hour throughout the arc adjustment range and radius adjustment range, (up to 25% of radius reduction), when spaced at 50% of wetted diameter.

The part circle sprinkler shall have an infinitely adjustable arc from 45° to 105°, 90° to 210° or between 210° to 270° depending on the model selected.  The full circle sprinkler shall irrigate a full 360°.  The 45° to 105° model shall not require coverage from adjacent sprinklers closer than 3’ from the head.

Full or part circle sprinklers shall be capable of up to 25% radius reduction using a stainless steel radius adjustment screw.  The radius reduction screw shall have a slip clutch mechanism to prevent internal damage if turned past the minimum or maximum radius settings.  The radius reduction screw shall reduce the pressure and flow upstream of the adjustable orifice thereby maintaining stream integrity.

Part circle sprinklers shall have arc adjustment capabilities using a stainless steel ring.  The adjustment ring shall be effective only while the sprinkler is popped up and shall be ineffective while the sprinkler is popped down.  When turned past the minimum or maximum arc limits the adjustment mechanism shall have a ratcheting action to prevent internal damage.

This same ratcheting action shall allow the orientation of the left edge of the variable arc when installed on a fixed riser or in a popup body.  This is independent of and in addition to any ratchet that may exist in a popup body.

The sprinkler itself shall pop-up at approximately 15 psi of water pressure. Upon cessation of water pressure, the sprinkler itself shall retract.  When installed in a pop-up body the sprinkler itself shall pop-up after the body stem is almost fully extended.  Upon decreasing pressure the sprinkler itself shall pop-down before the pop-down of the body stem is complete.

The sprinklers adjustable orifice shall be manufactured from polyurethane and acetyl plastic materials for durability.

The sprinkler shall be fitted with a detachable filter.

Sprinkler Assembly models MP Corner, MP Side Strip, MP Left Strip, MP Right Strip, MP800SR, MP1000, MP2000, MP3000 & MP3500 shall be able to be installed in popup bodies having a 5/8-27 UNS male threaded stem, at all common popup heights.  Sprinkler Assembly shall also be able to be attached to a 1/2 FIPT x 5/8-27 UNS male threaded adapter for use on fixed pipe risers.  Models MP Corner HT, MP Side Strip HT, MP Left Strip HT, MP Right Strip HT, MP1000HT, MP2000HT & MP3000HT shall be able to be installed in popup spray head bodies having a 5/8-28 UNS female threaded stem, at all common popup heights.  Sprinkler Assembly shall also be able to be attached to a 1/2 FIPT x 5/8-28 UNS female threaded adapter for use on fixed pipe risers.

The sprinkler shall be manufactured by Hunter Industries, Incorporated,  San Marcos, California.